## St. Anns Bank
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Curdo | Dive25-1 | A | Replicate | Field | 2025-06-20 | Katie Thistle | Completed inside their Airbnb in the living room using the coffee table as the workspace.
Curdo | PER25-31 | A | Replicate | Field | 2025-06-20 | Katie Thistle
Curdo | ENEG | NA | Extraction Negative | Field | 2025-06-20 | Katie Thistle
Note: They took field blanks, but Nick did not think they needed to run it as it was just a test. So Katie ran two sample replicates and used the centrifuge balance tubes. It took her about 7 hrs in total from start to finish. She did say that she did help Nick with some stuff during it.
Experience Level: No Molecular Experience
Liberty 16
Run Name: Atlantic Wolfish_2025_06_20_1906
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No)
Std 5 | Atl. Wolfish | 21.7 | 21.8 | ----- | No
Std 1 | Atl. Wolfish | 35.5 | 35.1 | ----- | No
Dive25-1 | Atl. Wolfish | NA | NA | NA | No
PER25-31 | Atl. Wolfish | 36.9 | 37.7 | 37.6 | No
Field ENEG | Atl. Wolfish | NA | NA | ----- | No
NTC | Atl. Wolfish | NA | ----- | ----- | No
Pos. Ctrl (Std 3) | Atl. Wolfish | 28.8 | ----- | ----- | No
*Target Assay Names for qPCR run (to match previous runs for A_lupus) = Al_Cytb; T4_IPC
QuantStudio 7 - Lab Verification
|  |  |  | qPCR01 |  |  | qPCR02 - T4 did not work in qPCR01, so samples run again too |  |  | qPCR02
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name* | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name* | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | Atl. Wolfish | 20.868 | 20.866 | 20.768 | 20.97 | 20.982 | 20.935 | Yes | T4 | 26.3781 | 26.5055 | 26.1614
Std 4 |  |  | Atl. Wolfish | 24.213 | 24.192 | 24.315 | 24.35 | 24.416 | 24.449 | Yes | T4 | 26.5639 | 26.8255 | 26.7501
Std 3 |  |  | Atl. Wolfish | 27.747 | 27.802 | 27.807 | 27.812 | 27.797 | 27.893 | Yes | T4 | 27.3221 | 27.2712 | 27.449
Std 2 |  |  | Atl. Wolfish | 31.021 | 30.987 | 31.174 | 30.991 | 30.962 | 31.06 | Yes | T4 | 27.6545 | 27.5102 | 27.5683
Std 1 |  |  | Atl. Wolfish | 34.356 | 34.481 | 34.548 | 34.224 | 34.561 | 34.113 | Yes | T4 | 27.4409 | 27.4569 | 27.5196
Std 0 |  |  | Atl. Wolfish | 37.236 | 37.558 | 36.413 | 36.821 | Omit | 37.19 | Yes | T4 | 27.5661 | Omitted | 27.5396
Dive25-1B | Lab | 0.282 | Atl. Wolfish | NA | NA | NA | NA | NA | NA | Yes | T4 | 27.492 | 27.6233 | 27.4077
Dive25-1A | Field | 0.207 | Atl. Wolfish | NA | NA | NA | NA | NA | 33.557 | Yes | T4 | 27.5406 | 27.6296 | 27.3481
PER25-31B | Lab | 1.44 | Atl. Wolfish | 38.906 | 37.064 | 38.642 | NA | 37.734 | 37.817 | Yes | T4 | 27.5341 | 27.4401 | 27.6223
PER25-31A | Field | 2.52 | Atl. Wolfish | 37.118 | 35.986 | 36.361 | 36.971 | 36.773 | 37.878 | Yes | T4 | 27.5022 | 27.552 | 27.5078
Field ENEG | Field | 0 | Atl. Wolfish | NA | NA | NA | NA | NA | NA | Yes | T4 | 27.4872 | 27.4346 | 27.3976
ENEG-952 | Lab | 0 | Atl. Wolfish | NA | NA | NA | NA | NA | NA | Yes | T4 | 27.5796 | 27.6358 | 27.4356
NTC |  |  | Atl. Wolfish | NA | NA | NA | NA | NA | NA | Yes | T4 | 27.4188 | 27.4918 | 27.503
Pos. Ctrl (Std 3) |  |  | Atl. Wolfish | 27.793 | 27.654 | 27.684 | 27.727 | 27.859 | 27.823 | Yes | T4 | 27.273 | 27.286 | 27.2235
NOTE: qPCR02 was run with T4 primers/probe from June 2025 = good run result
Al_Cytb results were nearly identical for both runs

## Halifax Hbr
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
BIO Marina - Packcat | Control | B | Field Blank | Field | 23/07/2025 | Katie Thistle | Sunny, 24°C, UV index 7, light breeze | Process was done on the back of the packcat in the direct sun, starting at 12:23pm and ending around 3:55pm. qPCR was put inside the cabin and ran/left there until next morning. The samples and assay kit was stored under the table in the shade and out there for 3.5hrs until put in -20°C.
BIO Marina - Packcat | 1 | B | Replicate | Field | 23/07/2025 | Katie Thistle
BIO Marina - Packcat | 2 | B | Replicate | Field | 23/07/2025 | Katie Thistle
BIO Marina - Packcat | ENEG |  | Extraction negative | Field | 23/07/2025
It took less than 2 hrs to complete extraction and a total of about 5.5 hrs for entire process setup, filter cutting, extraction, qPCR run and process.
Experience Level: No Molecular Experience - but second time doing the process. She did not look at the SOP or videos since the last time she did it at the end of June.
Liberty 16
Run Name: S. muticum_2025-07-23_1516
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No)
Std 5 | S. muticum | 20.6 | 20.6 | ----- | No
Std 1 | S. muticum | 34.1 | 34.2 | ----- | No
1B | S. muticum | 30.7 | 29 | 28.6 | No
2B | S. muticum | 30.3 | 29.5 | 30.6 | No
ControlB | S. muticum | NA | NA | ----- | No
Field ENEG | S. muticum | NA | NA | ----- | No
NTC | S. muticum | NA | ----- | ----- | No
Pos. Ctrl - Std 3 | S. muticum | 27.1 | ----- | ----- | No
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | S. muticum | 19.6796 | 19.7101 | 19.7311 | Yes | T4 | 28.0961 | 28.1003 | 27.9984
Std 4 |  |  | S. muticum | 23.074 | 23.1517 | 23.069 | Yes | T4 | 28.3163 | 28.2777 | 28.2219
Std 3 |  |  | S. muticum | 26.4052 | 26.416 | 26.4377 | Yes | T4 | 28.6695 | 28.6733 | 28.6736
Std 2 |  |  | S. muticum | 29.8727 | 29.6825 | 29.9012 | Yes | T4 | 28.8869 | 28.9683 | 28.9143
Std 1 |  |  | S. muticum | 33.1739 | 33.4819 | 33.0375 | Yes | T4 | 29.0631 | 29.0415 | 28.9525
Std 0 |  |  | S. muticum | 37.2735 | Undetermined | Undetermined | Yes | T4 | 29.0848 | Undetermined | Undetermined
1A | Lab | 20.9 | S. muticum | 29.5505 | 29.7775 | 29.7278 | Yes | T4 | 28.0235 | 28.9958 | 28.8195
1B | Field | 28.3 | S. muticum | 27.9284 | 28.0108 | 27.9967 | Yes | T4 | 28.7445 | 28.7104 | 28.7433
2A | Lab | 19.9 | S. muticum | 29.4591 | 29.6521 | 29.5767 | Yes | T4 | 28.7155 | 28.8744 | 28.8921
2B | Field | 19.8 | S. muticum | 29.2027 | 29.1723 | 29.2409 | Yes | T4 | 28.8011 | 28.8487 | 28.9647
ControlA | Lab | 0.454 | S. muticum | Undetermined | Undetermined | Undetermined | Yes | T4 | 28.8987 | 28.9557 | 29.0484
ControlB | Field | 0.177 | S. muticum | Undetermined | Undetermined | Undetermined | Yes | T4 | 28.9548 | 28.8996 | 28.864
Field ENEG | Field | BQL | S. muticum | Undetermined | Undetermined | Undetermined | Yes | T4 | 28.8897 | 28.8796 | 28.9102
Lab ENEG - (966-ENEG-1) | Lab | BQL | S. muticum | Undetermined | Undetermined | Undetermined | Yes | T4 | 28.9533 | 29.0284 | 29.0008
NTC |  |  | S. muticum | Undetermined | Undetermined | Undetermined | Yes | T4 | 29.0356 | 28.9634 | 29.1452

## DND Vessel Cleaning
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
HMCS William Hall | 95 | Other filter half is 96 | Replicate | Field | 2025-08-05 | Meghan | Sunny; 20.6 C; Relative humidity 65%; Wind 23km/h w/ random wash | Started around 2pm and it only took about 2.5hrs from collecting, cutting samples, extracting DNA and start run on qPCR. The windows iside the vessel were open for air flow. We were positioned on the side of the HMCS William Hall and we would get random wash from passing ships and small vessels that would bounce around for a while.
HMCS William Hall | 97 | Other filter half is 98 | Replicate | Field | 2025-08-05 | Meghan
HMCS William Hall | 100 | Other filter half is 101 | Field Blank | Field | 2025-08-05 | Meghan
HMCS William Hall | ENEG |  | Extraction Negative | Field | 2025-08-05 | Meghan
Experience Level: Molecular Biologist - Done on vessel
Liberty 16
Run Name: S. balanoides_2025-08-06_1356
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No)
Std 5 | S. balanoides | 20.9 | 20.7 | -------- | No
Std 1 | S. balanoides | 34.5 | 34.2 | -------- | No
95 | S. balanoides | 36.4 | 37.9 | 35.4 | No
97 | S. balanoides | 36.1 | 35.7 | 35.5 | No
100 | S. balanoides | NA | NA | -------- | No
Field ENEG | S. balanoides | NA | NA | -------- | No
NTC | S. balanoides | NA | -------- | -------- | No
Pos. Ctrl | S. balanoides | 27.3 | -------- | -------- | No
Note: We had to re-do the setup and qPCR run on the Vessel on 06-Aug-25 as when I had pressed the top button of the iPad to turn off the screen it did a small shutdown which disabled the bluetooth and disconnected from the Liberty 16. The next day when I went to look at the results there were non as the Liberty 16 has no abilities to store data only transfer while running.
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name* | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name* | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | S. balanoides | 20.4547 | 20.6013 | 20.4902 | Yes | T4 | 28.0961 | 28.1003 | 27.9984
Std 4 |  |  | S. balanoides | 23.893 | 23.8991 | 23.8434 | Yes | T4 | 28.3163 | 28.2777 | 28.2219
Std 3 |  |  | S. balanoides | 27.324 | 27.2716 | 27.2304 | Yes | T4 | 28.6695 | 28.6733 | 28.6736
Std 2 |  |  | S. balanoides | 30.8126 | 30.6231 | 30.7744 | Yes | T4 | 28.8869 | 28.9683 | 28.9143
Std 1 |  |  | S. balanoides | 34.0739 | 34.0256 | 34.3693 | Yes | T4 | 29.0631 | 29.0415 | 28.9525
Std 0 |  |  | S. balanoides | 37.1542 | Undetermined | 37.3282 | Yes | T4 | 29.0848 | Undetermined | Undetermined
95 | Field | 38.2 | S. balanoides | 36.3559 | 35.781 | 36.355 | Yes | T4 | 28.9683 | 29.0163 | 28.9583
96 | Lab | 10.4 | S. balanoides | 36.1031 | 37.6217 | 37.2625 | Yes | T4 | 29.0465 | 28.9145 | 28.9665
97 | Field | 50 | S. balanoides | 35.5827 | 35.2037 | 35.6939 | Yes | T4 | 28.9001 | 28.9963 | 28.8563
98 | Lab | 13.1 | S. balanoides | 37.0595 | 37.6223 | 37.4379 | Yes | T4 | 28.9693 | 29.0224 | 29.0282
100 | Field | 0.096 | S. balanoides | Undetermined | Undetermined | Undetermined | Yes | T4 | 28.9742 | 29.0742 | 29.0112
101 | Lab | 0.336 | S. balanoides | Undetermined | Undetermined | Undetermined | Yes | T4 | 29.0523 | 28.9713 | 29.0004
Field ENEG | Field | BQL | S. balanoides | Undetermined | Undetermined | Undetermined | Yes | T4 | 28.9533 | 29.0284 | 29.0008
Lab ENEG (966-ENEG-1) | Lab | BQL | S. balanoides | Undetermined | Undetermined | Undetermined | Yes | T4 | 28.9347 | 28.925 | 28.8482
NTC |  |  | S. balanoides | Undetermined | Undetermined | Undetermined | Yes | T4 | 29.0356 | 28.9634 | 29.1452
Vicky ran S. muticum on these samples by accident, but interesting results
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name* | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | S. muticum | 19.68 | 19.71 | 19.731
Std 4 |  |  | S. muticum | 23.074 | 23.152 | 23.069
Std 3 |  |  | S. muticum | 26.405 | 26.416 | 26.438
Std 2 |  |  | S. muticum | 29.873 | 29.683 | 29.901
Std 1 |  |  | S. muticum | 33.174 | 33.482 | 33.037
Std 0 |  |  | S. muticum | 37.274 | Undetermined | Undetermined
95 | Field | 38.2 | S. muticum | 36.852 | 36.477 | 37.422
96 | Lab | 10.4 | S. muticum | Undetermined | 41.99 | 37.874
97 | Field | 50 | S. muticum | 34.963 | 36.058 | 35.77
98 | Lab | 13.1 | S. muticum | 36.672 | 35.844 | 36.361
100 | Field | 0.096 | S. muticum | Undetermined | Undetermined | Undetermined
101 | Lab | 0.336 | S. muticum | Undetermined | Undetermined | Undetermined
Field ENEG | Field | BQL | S. muticum | Undetermined | Undetermined | Undetermined
Lab ENEG (966-ENEG-1) | Lab | BQL | S. muticum | Undetermined | Undetermined | Undetermined
NTC |  |  | S. muticum | Undetermined | Undetermined | Undetermined

## 3-mile Lake
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Three Mile Lake | RSC1B | B | Replicate | Field | 2025-10-16 | Sarah Kingsbury, Uli, Nicole | Overcast, Mild Wind, ~9C
Three Mile Lake | RSC2B | B | Replicate - Pos Ctrl | Field | 2025-10-16 | Sarah Kingsbury, Uli, Nicole
Three Mile Lake | ENEG |  | Extraction Negative | Field | 2025-10-16 | Sarah Kingsbury, Uli, Nicole
Experience Level: No Experience
Liberty 16
Run Name:
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No)
Std High | P.clarkii | 32.5 | 32.6 | ------ | No
Std Low | P.clarkii | 41.4 | NA | ------ | No
RSC1B | P.clarkii | 37.9 | 37.9 | 38.7 | No
RSC2B | P.clarkii | 32.8 | 33 | 32.8 | No
Field ENEG | P.clarkii | NA | NA |  | No
Field NTC | P.clarkii | NA | ------ | ------ | No
Pos. Ctrl | P.clarkii | 25.3 | ------ | ------ | No
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name* | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name* | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std High |  |  | P.clarkii | 26.0862 | 26.0565 | 26.1011 | Yes | T4
Std Low |  |  | P.clarkii | 31.5354 | 31.3972 | 31.6888 | Yes | T4
RSC1A | Lab |  | P.clarkii | 37.9991 | 37.2419 | 37.308 | Yes | T4 | 28.9614 | 28.807 | 28.8219
RSC1B | Field |  | P.clarkii | 37.2526 | 37.1916 | 36.9466 | Yes | T4 | 28.7051 | 28.7079 | 28.6696
RSC2A | Lab |  | P.clarkii | 30.5502 | 30.5685 | 30.5652 | Yes | T4 | 28.5218 | 28.7312 | 28.5321
RSC2B | Field |  | P.clarkii | 32.1813 | 32.1934 | 31.966 | Yes | T4 | 28.4601 | 28.5335 | 28.4302
Lab ENEG | Lab |  | P.clarkii | 0 | 0 | 0 | Yes | T4 | 28.5916 | 28.3255 | 28.2756
Field ENEG | Field |  | P.clarkii | 0 | 0 | 0 | Yes | T4 | 28.3263 | 28.3379 | 28.3605
Lab NTC |  |  | P.clarkii | 0 | 0 | 0 | Yes | T4 | 28.4592 | 28.4457 | 28.4579
Pos. Ctrl |  |  | P.clarkii | 28.9405 | 28.8882 | 28.8318 | Yes | T4 | 28.2565 | 28.3069 | 28.1459

## Combined results
|  |  | Field Processing |  |  | Lab Verification | [5 empty] | Field Process | Lab Verification
Location | Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | Location | Sample ID | Target Assay Name | CT Mean | CT Mean
St. Anns Bank | Std 5 | Atl. Wolfish | 21.7 | 21.8 | ----- | 20.868 | 20.866 | 20.768 | St. Anns Bank | Dive25-1 | Atl. Wolfish | 0 | 0
| Std 1 | Atl. Wolfish | 35.5 | 35.1 | ----- | 34.356 | 34.481 | 34.548 |  | PER25-31 | Atl. Wolfish | 37.4 | 38.204
| Dive25-1 | Atl. Wolfish | NA | NA | NA | NA | NA | NA | Halifax Harbour | 1 | S. muticum | 29.4333 | 29.6852
| PER25-31 | Atl. Wolfish | 36.9 | 37.7 | 37.6 | 38.906 | 37.064 | 38.642 |  | 2 | S. muticum | 30.1333 | 29.5626
| Field ENEG | Atl. Wolfish | NA | NA | ----- | NA | NA | NA | HMCS William Hall Cleaning | 95 | S. balanoides | 36.5667 | 36.9958
| NTC | Atl. Wolfish | NA | ----- | ----- | NA | NA | NA |  | 97 | S. balanoides | 35.7667 | 37.3732
| Pos. Ctrl (Std 3) | Atl. Wolfish | 28.8 | ----- | ----- | 27.793 | 27.654 | 27.684
Halifax Harbour | Std 5 | S. muticum | 20.6 | 20.6 | ----- | 19.6796 | 19.7101 | 19.7311
| Std 1 | S. muticum | 34.1 | 34.2 | ----- | 33.1739 | 33.4819 | 33.0375
| 1B | S. muticum | 30.7 | 29 | 28.6 | 29.5505 | 29.7775 | 29.7278
| 2B | S. muticum | 30.3 | 29.5 | 30.6 | 29.4591 | 29.6521 | 29.5767
| ControlB | S. muticum | NA | NA | ----- | NA | NA | NA
| Field ENEG | S. muticum | NA | NA | ----- | NA | NA | NA
| NTC | S. muticum | NA | ----- | ----- | NA | NA | NA
| Pos. Ctrl - Std 3 | S. muticum | 27.1 | ----- | ----- | 26.4052 | 26.416 | 26.4377
HMCS William Hall Cleaning | Std 5 | S. balanoides | 20.9 | 20.7 | -------- | 20.4547 | 20.6013 | 20.4902
| Std 1 | S. balanoides | 34.5 | 34.2 | -------- | 34.0739 | 34.0256 | 34.3693
| 95/96 | S. balanoides | 36.4 | 37.9 | 35.4 | 36.1031 | 37.6217 | 37.2625
| 97/98 | S. balanoides | 36.1 | 35.7 | 35.5 | 37.0595 | 37.6223 | 37.4379
| 100/101 | S. balanoides | NA | NA | -------- | NA | NA | NA
| Field ENEG | S. balanoides | NA | NA | -------- | NA | NA | NA
| NTC | S. balanoides | NA | -------- | -------- | NA | NA | NA
| Pos. Ctrl - Std 3 | S. balanoides | 27.3 | -------- | -------- | 27.324 | 27.2716 | 27.2304
Three Mile Lake | Std High | P.clarkii | 32.5 | 32.6 | ------ | 26.0862 | 26.0565 | 26.1011
| Std Low | P.clarkii | 41.4 | NA | ------ | 31.5354 | 31.3972 | 31.6888
| RSC1B | P.clarkii | 37.9 | 37.9 | 38.7 | 37.2526 | 37.1916 | 36.9466
| RSC2B | P.clarkii | 32.8 | 33 | 32.8 | 32.1813 | 32.1934 | 31.966
| Field ENEG | P.clarkii | NA | NA |  | NA | NA | NA
| NTC | P.clarkii | NA | ------ | ------ | NA | NA | NA
| Pos. Ctrl | P.clarkii | 25.3 | ------ | ------ | 28.9405 | 28.8882 | 28.8318