## Lyla Blakeney
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Fish Lab Tank Room | AIS-4480 | B | Replicate | Field | 2025-01-16 | Lyla Blakeney | N/A
Fish Lab Tank Room | AIS-4481 | B | Replicate | Field | 2025-01-16 | Lyla Blakeney
Fish Lab Tank Room | AIS-4482 | B | Replicate | Field | 2025-01-16 | Lyla Blakeney
Fish Lab Tank Room | AIS-4483 | B | Field Blank | Field | 2025-01-16 | Lyla Blakeney
Fish Lab Tank Room | ENEG | ------ | Extraction Negative | Field | 2025-01-16 | Lyla Blakeney
Experience Level: None
Liberty 16
Run Name: C. Intestinalis_2025-1-16_1610
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Notes
Std 5 | C. intestinalis | 21.6 | 21.7 | ----- | No
Std 1 | C. intestinalis | 36.1 | 36.2 | ----- | No
AIS-4480B | C. intestinalis | 27.7 | 27.5 | 27.9 | No
AIS-4481B | C. intestinalis | 28.5 | 25.8* | 27 | No | For Ct value replicate 2 - I thought I saw Lyla put 3 uL of DNA twice and based on the Ct value this conclude that, that was the case.
AIS-4483B (Field Blank) | C. intestinalis | NA | NA | ----- | No
Field ENEG | C. intestinalis | NA | NA | ----- | No
NTC | C. intestinalis | NA | NA | ----- | No
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab Extraction | DNA concentration (ng/uL) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | C. intestinalis | 20.4628 | 20.4788 | 20.399
Std 4 |  |  | C. intestinalis | 24.0697 | 24.0556 | 23.9901
Std 3 |  |  | C. intestinalis | 27.4492 | 27.3771 | 27.3533
Std 2 |  |  | C. intestinalis | 30.6293 | 30.5647 | 30.6349
Std 1 |  |  | C. intestinalis | 34.2712 | 33.6109 | 33.8568
Std 0 |  |  | C. intestinalis | 36.1082 | 38.9742 | 36.8465
AIS-4480A | Lab |  | C. intestinalis | 27.7037 | 27.6361 | 27.5637 | Yes | T4 | 29.1872 | 29.1226 | 28.9929
AIS-4480B | Field |  | C. intestinalis | 27.8431 | 27.8189 | 27.8901 | Yes | T4 | 28.9926 | 29.0617 | 29.0697
AIS-4481A | Lab |  | C. intestinalis | 27.3483 | 27.434 | 27.2702 | Yes | T4 | 28.9789 | 29.2834 | 28.9861
AIS-4481B | Field |  | C. intestinalis | 27.2281 | 27.1638 | 27.1821 | Yes | T4 | 29.0666 | 28.9737 | 29.0483
AIS-4483A (Field Blank) | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.7404 | 29.766 | 29.8241
AIS-4483B (Field Blank) | Field |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.8432 | 29.5869 | 29.6156
Field ENEG | Field |  | C. intestinalis |  |  |  | Yes | T4
Lab ENEG - TUBE 936 | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.815 | 29.5376 | 29.464
NTC |  |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6998 | 29.8264 | 29.7989

## Kira Krumhansl
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Fish Lab Tank Room | AIS-4484 | B | Replicate | Field | 2025-01-20 | Kira Krumhansl | N/A
Fish Lab Tank Room | AIS-4485 | B | Replicate | Field | 2025-01-20 | Kira Krumhansl
Fish Lab Tank Room | AIS-4486 | B | Replicate | Field | 2025-01-20 | Kira Krumhansl
Fish Lab Tank Room | AIS-4487 | B | Field Blank | Field | 2025-01-20 | Kira Krumhansl
Fish Lab Tank Room | ENEG | ----- | Extraction Negative | Field | 2025-01-20 | Kira Krumhansl
Experience Level: Lab, but not molecular
Liberty 16
Run Name: C.Intestinalis_2025-01-20_1340 | [6 empty] | Notes on Test: • Kira was prepared. She watched the videos and read the protocol. • She required very little instruction and very organized. • For time o ~30 min to setup o ~2 hrs for extraction o ~30 min for qPCR prep • Ran the protocol and came back to review results
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No)
Std 5 | C. intestinalis | 21.8 | 21.7 | ----- | No
Std 1 | C. intestinalis | 36.1 | 35.6 | ----- | No
AIS-4484B | C. intestinalis | 26.9 | 26.6 | 26.3 | No
AIS-4485B | C. intestinalis | 27.2 | 26.4 | 27.3 | No
AIS-4487B (Field Blank) | C. intestinalis | NA | NA | ----- | No
Field ENEG | C. intestinalis | NA | NA | ----- | No
NTC | C. intestinalis | NA | NA | ----- | No
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | C. intestinalis | 20.4628 | 20.4788 | 20.399
Std 4 |  |  | C. intestinalis | 24.0697 | 24.0556 | 23.9901
Std 3 |  |  | C. intestinalis | 27.4492 | 27.3771 | 27.3533
Std 2 |  |  | C. intestinalis | 30.6293 | 30.5647 | 30.6349
Std 1 |  |  | C. intestinalis | 34.2712 | 33.6109 | 33.8568
Std 0 |  |  | C. intestinalis | 36.1082 | 38.9742 | 36.8465
AIS-4484A | Lab |  | C. intestinalis | 27.3382 | 27.3586 | 27.3171 | Yes | T4 | 28.9854 | 29.0474 | 28.9881
AIS-4484B | Field |  | C. intestinalis | 27.0204 | 27.0545 | 26.9736 | Yes | T4 | 28.9709 | 29.0393 | 29.0063
AIS-4485A | Lab |  | C. intestinalis | 27.2732 | 27.3756 | 27.3567 | Yes | T4 | 28.6691 | 28.9362 | 29.0078
AIS-4485B | Field |  | C. intestinalis | 27.6203 | 27.6545 | 27.6053 | Yes | T4 | 29.0538 | 29.0549 | 29.0306
AIS-4487A (Field Blank) | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.7592 | 29.6635 | 29.6709
AIS-4487B (Field Blank) | Field |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6561 | 29.6978 | 29.5049
Field ENEG | Field |  | C. intestinalis |  |  |  | Yes | T4
Lab ENEG - TUBE 936 | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.815 | 29.5376 | 29.464
NTC |  |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6998 | 29.8264 | 29.7989

## Nick Jeffery
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Fish Lab Tank Room | AIS-4488 | B | Replicate | Field |  | Nick Jeffery | N/A
Fish Lab Tank Room | AIS-4489 | B | Replicate | Field |  | Nick Jeffery |  | After the incubation step, he noticed that he missed some filter in the sample tube. Therefore, he moved the liquid located on the bottom of the LB tube back into the basket and then grabbed a clean pair of tweezer and placed missing filter piece in the LB basket with the other piece of the filter and repeated the incubation step
Fish Lab Tank Room | AIS-4490 | B | Replicate | Field |  | Nick Jeffery
Fish Lab Tank Room | AIS-4491 | B | Field Blank | Field |  | Nick Jeffery
Fish Lab Tank Room | ENEG |  | Extraction Negative | Field |  | Nick Jeffery
Experience Level: Molecular Lab but very RUSTY
Liberty 16 | [7 empty] | Notes on Test: • Nick was not prepared. He watched the prep video qPCR briefly. • He required some instruction mostly on the qPCR step but he wasn’t really reading the protocol but skimming. • He appeared to be in a bit of rush doing the whole procedure. • There was a slight mistake during the extraction step that was easily rectified. Just a piece of a filter sample did not get put into the LB basket. We had extra tweezer for him to use and he just moved the lysis form the bottom of the LB tube back into the basket and added the missing filter into the basket. The tube was put back in the incubator for another 15 min. • For time o ~30 min to setup o ~2.5 hrs for extraction o ~30 min for qPCR prep • Ran the protocol and then we had to get evacuated, so did not come back until 1.5 day later. No problems with the run.
Run Name: C. Intestinalis_2025-01-22_1401
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No)
Std 5 | C. intestinalis | 21.7 | 21.5 | ----- | No
Std 1 | C. intestinalis | 36.6 | 35.8 | ----- | No
AIS-4488B | C. intestinalis | 27.7 | 27.5 | 27.6 | No
AIS-4489B | C. intestinalis | 26.7 | 27 | 27.2 | No
AIS-4491B (Field Blank) | C. intestinalis | NA | NA | ----- | No
Field ENEG | C. intestinalis | NA | NA | ----- | No
NTC | C. intestinalis | NA | NA | ----- | No
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | C. intestinalis | 20.4628 | 20.4788 | 20.399
Std 4 |  |  | C. intestinalis | 24.0697 | 24.0556 | 23.9901
Std 3 |  |  | C. intestinalis | 27.4492 | 27.3771 | 27.3533
Std 2 |  |  | C. intestinalis | 30.6293 | 30.5647 | 30.6349
Std 1 |  |  | C. intestinalis | 34.2712 | 33.6109 | 33.8568
Std 0 |  |  | C. intestinalis | 36.1082 | 38.9742 | 36.8465
AIS-4488A | Lab |  | C. intestinalis | 27.3175 | 27.2272 | 27.2503 | Yes | T4 | 29.0838 | 28.9537 | 28.9653
AIS-4488B | Field |  | C. intestinalis | 27.6357 | 27.6811 | 27.71 | Yes | T4 | 29.0745 | 29.3039 | 28.9014
AIS-4489A | Lab |  | C. intestinalis | 27.0436 | 27.0966 | 27.0028 | Yes | T4 | 28.9152 | 28.921 | 28.8974
AIS-4489B | Field |  | C. intestinalis | 27.098 | 27.1216 | 27.1636 | Yes | T4 | 28.9107 | 28.8723 | 28.9137
AIS-4491A (Field Blank) | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.8223 | 29.7414 | 29.6592
AIS-4491B (Field Blank) | Field |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6858 | 29.5469 | 29.6086
Field ENEG | Field |  | C. intestinalis |  |  |  | Yes | T4
Lab ENEG - TUBE XXX | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.815 | 29.5376 | 29.464
NTC |  |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6998 | 29.8264 | 29.7989

## Claudio DiBacco
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Fish Lab Tank Room | AIS-4476 | B | Replicate | In-field | 2025-01-27 | Claudio DiBacco | N/A
Fish Lab Tank Room | AIS-4477 | B | Replicate | In-field | 2025-01-27 | Claudio DiBacco
Fish Lab Tank Room | AIS-4478 | B | Replicate | In-field | 2025-01-27 | Claudio DiBacco
Fish Lab Tank Room | AIS-4479 | B | Field Blank | In-field | 2025-01-27 | Claudio DiBacco
Fish Lab Tank Room | ENEG |  | Extraction Negative | In-field | 2025-01-27 | Claudio DiBacco
Experience Level: Lab, but not molecular
Liberty 16
Run Name: C. Intestinalis_2025_01-27_1226
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) |  |  | Notes on Test: • Claudio was prepared. He watched the videos and read the protocol. • He required very little instruction and very organized. He did use the yellow tube rack for the first bit of the protocol - clearly no contamination occured. • For time o ~20 min to setup o ~2 hrs 15 min for extraction o ~40 min for qPCR prep • Ran the protocol and came back to review results
Std 5 | C. intestinalis | 22.1 | 22 | ----- | No
Std 1 | C. intestinalis | 35.5 | 36.2 | ----- | No
AIS-4476B | C. intestinalis | 28.9 | 29 | 29 | No
AIS-4477B | C. intestinalis | 29 | 29 | 28.8 | No
AIS-4479B (Field Blank) | C. intestinalis | NA | NA | ----- | No
Field ENEG | C. intestinalis | NA | NA | ----- | No
NTC | C. intestinalis | NA | NA | ----- | No
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | C. intestinalis | 20.4628 | 20.4788 | 20.399
Std 4 |  |  | C. intestinalis | 24.0697 | 24.0556 | 23.9901
Std 3 |  |  | C. intestinalis | 27.4492 | 27.3771 | 27.3533
Std 2 |  |  | C. intestinalis | 30.6293 | 30.5647 | 30.6349
Std 1 |  |  | C. intestinalis | 34.2712 | 33.6109 | 33.8568
Std 0 |  |  | C. intestinalis | 36.1082 | 38.9742 | 36.8465
AIS-4476A | Lab |  | C. intestinalis | 27.4973 | 27.4579 | 27.3768 | Yes | T4 | 28.9399 | 29.0871 | 29.2805
AIS-4476B | Field |  | C. intestinalis | 27.9087 | 27.9806 | 27.8842 | Yes | T4 | 29.1654 | 29.249 | 29.0696
AIS-4477A | Lab |  | C. intestinalis | 28.0419 | 28.0639 | 28.0094 | Yes | T4 | 29.213 | 29.2545 | 29.2731
AIS-4477B | Field |  | C. intestinalis | 27.9876 | 28.0453 | 27.9783 | Yes | T4 | 29.1605 | 29.1739 | 29.4276
AIS-4479A (Field Blank) | Lab |  | C. intestinalis | NA | 38.4355 | 38.3614 | Yes | T4 | 29.6238 | 29.6274 | 29.643
AIS-4479B (Field Blank) | Field |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6386 | 29.2761 | 29.6057
Field ENEG | Field |  | C. intestinalis |  |  |  | Yes | T4
Lab ENEG - TUBE XXX | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.815 | 29.5376 | 29.464
NTC |  |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6998 | 29.8264 | 29.7989

## Dave Keith
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Fish Lab Tank Room | AIS-4492 | B | Replicate | Field | 2025-01-28 | Dave Keith | N/A
Fish Lab Tank Room | AIS-4493 | B | Replicate | Field | 2025-01-28 | Dave Keith
Fish Lab Tank Room | AIS-4494 | B | Replicate | Field | 2025-01-28 | Dave Keith
Fish Lab Tank Room | AIS-4495 | B | Field Blank | Field | 2025-01-28 | Dave Keith
Fish Lab Tank Room | ENEG |  | Extraction Negative | Field | 2025-01-28 | Dave Keith
Experience Level: None
Liberty 16
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) |  |  | Notes on Test: • Dave was prepared. He watched the videos and read the protocol. • He required some instruction, especially for the qPCR step and the repeater part. Overall though for his first time ever he did great! • For time o ~20 min to setup o ~2 hrs 30 min for extraction o ~1 hr for qPCR prep • Ran the protocol and came back to review results
Std 5 | C. intestinalis | 22.1 | 22 | ----- | No
Std 1 | C. intestinalis | 35 | 35.6 | ----- | No
AIS-4492B | C. intestinalis | 27.9 | 27.9 | 27.6 | No
AIS-4494B | C. intestinalis | 28.2 | 28.2 | 28.1 | No
AIS-4493B* | C. intestinalis | 28.1 | 28.5 | ----- | No
Field ENEG | C. intestinalis | NA | NA | ----- | No
NTC | C. intestinalis | NA | NA | ----- | No
*Mistakenly grabbed the sample replicate and ran on the qPCR instead of the Field Blank.
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | C. intestinalis | 20.4628 | 20.4788 | 20.399
Std 4 |  |  | C. intestinalis | 24.0697 | 24.0556 | 23.9901
Std 3 |  |  | C. intestinalis | 27.4492 | 27.3771 | 27.3533
Std 2 |  |  | C. intestinalis | 30.6293 | 30.5647 | 30.6349
Std 1 |  |  | C. intestinalis | 34.2712 | 33.6109 | 33.8568
Std 0 |  |  | C. intestinalis | 36.1082 | 38.9742 | 36.8465
AIS-4492A | Lab |  | C. intestinalis | 26.7983 | 26.8294 | 26.7615 | Yes | T4 | 28.8902 | 28.9824 | 28.9065
AIS-4492B | Field |  | C. intestinalis | 27.0529 | 26.9964 | 27.0247 | Yes | T4 | 28.9965 | 29.017 | 28.8615
AIS-4493A | Lab |  | C. intestinalis | 27.1313 | 27.0628 | 27.0713 | Yes | T4 | 29.1253 | 29.0622 | 28.9446
AIS-4493B | Field |  | C. intestinalis | 29.085 | 29.0794 | 29.025 | Yes | T4 | 29.3528 | 29.2311 | 29.2758
AIS-4494A | Lab |  | C. intestinalis | 27.0801 | 27.0477 | 27.0305 | Yes | T4 | 28.9736 | 28.8692 | 29.095
AIS-4494B | Field |  | C. intestinalis | 27.2103 | 27.2286 | 27.2753 | Yes | T4 | 28.9785 | 28.8258 | 29.0029
AIS-4495A (Field Blank) | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.5018 | 29.5638 | 29.5119
AIS-4495B (Field Blank) | Field |  | C. intestinalis | 27.3566 | 27.4427 | 27.378 | Yes | T4 | 29.1159 | 29.0205 | 29.0345
Field ENEG | Field |  | C. intestinalis |  |  |  | Yes | T4
Lab ENEG - TUBE XXX | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.815 | 29.5376 | 29.464
NTC |  |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6998 | 29.8264 | 29.7989
I need to have Dave repeat this in the lab

## Repeat Test - Dave Keith
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.)
Fish Lab Tank Room | AIS-4496 | B | Replicate | Field | 2025-03-21 | Dave Keith | N/A
Fish Lab Tank Room | AIS-4497 | B | Replicate | Field | 2025-03-21 | Dave Keith
Fish Lab Tank Room | AIS-4499 | B | Field Blank | Field | 2025-03-21 | Dave Keith
Fish Lab Tank Room | ENEG |  | Extraction Negative | Field | 2025-03-21 | Dave Keith
Experience Level: None
Repeat Test is to assess the training process. As Dave seem to have contaminated his field blank and had trouble with the repeater, we would like to see if by repeating the process there is more understanding and improvement. Especially by applying the feedback on the protocol he offered during his first run.
Liberty 16
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No)
Std 5 | C. intestinalis | 22 | 22 | ----- | No
Std 1 | C. intestinalis | 35.8 | 35.7 | ----- | No
AIS-4496b | C. intestinalis | 27.9 | 27.7 | 27.7 | No
AIS-4497b | C. intestinalis | 28 | 27.7 | 27.9 | No
AIS-4499b | C. intestinalis | NA | NA | ----- | No
Field ENEG | C. intestinalis | NA | NA | ----- | No
NTC | C. intestinalis | NA | NA | ----- | No
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 1 | Ct value Replicate 2 | IPC Checked (Yes/No)
Std 5 |  | C. intestinalis | 21.2367 | 21.1814 | 21.2132 | No
Std 1 |  | C. intestinalis | 34.8866 | 34.9813 | 34.634 | No
AIS-4496a | Lab | C. intestinalis | 27.5443 | 27.7052 | 27.5378 | No
AIS-4496b | Field | C. intestinalis | 27.596 | 27.5391 | 27.4626 | No
AIS-4497a | Lab | C. intestinalis | 26.9959 | 26.9766 | 26.9942 | No
AIS-4497b | Field | C. intestinalis | 27.3197 | 27.2308 | 27.1693 | No
AIS-4499a | Lab | C. intestinalis | NA | NA | NA | No
AIS-4499b | Field | C. intestinalis | NA | NA | NA | No
Field ENEG | Field | C. intestinalis | NA | NA | NA | No
Lab ENEG - 937-ENEG-1 | Lab | C. intestinalis | NA | NA | NA | No
NTC |  | C. intestinalis | NA | NA | NA | No
|  | Field Protocol |  |  |  | Lab Verification
Sample ID | Type | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | CT Mean | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | CT Mean
Std 5 | STD | 22 | 22 | ----- | 22 | 21.2367 | 21.1814 | 21.2132 | 21.2104
Std 1 | STD | 35.8 | 35.7 | ----- | 35.75 | 34.8866 | 34.9813 | 34.634 | 34.8339
AIS-4496 | Sample | 27.9 | 27.7 | 27.7 | 27.7667 | 27.5443 | 27.7052 | 27.5378 | 27.5958
AIS-4497 | Sample | 28 | 27.7 | 27.9 | 27.8667 | 26.9959 | 26.9766 | 26.9942 | 26.9889
AIS-4499 | Field Blank | NA | NA | ----- | NA | NA | NA | NA | NA
Field ENEG | ENEG | NA | NA | ----- | NA | ----- | ----- | ----- | ----
Lab ENEG | ENEG | ----- | ----- | ----- | ---- | NA | NA |  | NA
| Field Protocol |  |  |  | Lab Verification
Sample ID | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | CT Mean | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | CT Mean
Std 5 | 22 | 22 | ----- | 22 | 21.2367 | 21.1814 | 21.2132 | 21.2104
Std 1 | 35.8 | 35.7 | ----- | 35.75 | 34.8866 | 34.9813 | 34.634 | 34.8339
AIS-4496 | 27.9 | 27.7 | 27.7 | 27.7667 | 27.5443 | 27.7052 | 27.5378 | 27.5958
AIS-4497 | 28 | 27.7 | 27.9 | 27.8667 | 26.9959 | 26.9766 | 26.9942 | 26.9889
AIS-4499 | NA | NA | ----- | NA | NA | NA | NA | NA
Field ENEG | NA | NA | ----- | NA | ----- | ----- | ----- | ----
Lab ENEG | ----- | ----- | ----- | ---- | NA | NA |  | NA

## Evan Cronmiller
Extraction Form
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | Protocol Type: Field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Fish Lab Tank Room | AIS-4500 | B | Replicate | Field | 2025-02-19 | Evan Cronmiller | N/A
Fish Lab Tank Room | AIS-4501 | B | Replicate | Field | 2025-02-19 | Evan Cronmiller
Fish Lab Tank Room | AIS-4502 | B | Replicate | Field | 2025-02-19 | Evan Cronmiller
Fish Lab Tank Room | AIS-4503 | B | Field Blank | Field | 2025-02-19 | Evan Cronmiller
Fish Lab Tank Room | ENEG |  | Extraction Negative | Field | 2025-02-19 | Evan Cronmiller
Liberty 16
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No)
Std 5 | C. intestinalis | 22 | 22 | ------- | No
Std 1 | C. intestinalis | 35.8 | 35.9 | ------- | No
AIS-4500B | C. intestinalis | 27.4 | 27.7 | 27.5 | No
AIS-4501B | C. intestinalis | 27.9 | 27.7 | 27.8 | No
AIS-4503B (Field Blank) | C. intestinalis | NA | NA | ------- | No
Field ENEG | C. intestinalis | NA | NA | ------- | No
NTC | C. intestinalis | NA | NA | ------- | No
QuantStudio 7 - Lab Verification
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | C. intestinalis | 20.4628 | 20.4788 | 20.399
Std 4 |  |  | C. intestinalis | 24.0697 | 24.0556 | 23.9901
Std 3 |  |  | C. intestinalis | 27.4492 | 27.3771 | 27.3533
Std 2 |  |  | C. intestinalis | 30.6293 | 30.5647 | 30.6349
Std 1 |  |  | C. intestinalis | 34.2712 | 33.6109 | 33.8568
Std 0 |  |  | C. intestinalis | 36.1082 | 38.9742 | 36.8465
AIS-4500A | Lab |  | C. intestinalis | 26.7283 | 26.5668 | 26.6226 | Yes | T4 | 28.8228 | 28.8099 | 28.9437
AIS-4500B | Field |  | C. intestinalis | 26.5937 | 26.502 | 26.6013 | Yes | T4 | 28.9129 | 28.7981 | 28.9591
AIS-4501A | Lab |  | C. intestinalis | 27.0677 | 27.0001 | 26.9825 | Yes | T4 | 28.9743 | 28.9524 | 28.9533
AIS-4501B | Field |  | C. intestinalis | 26.687 | 26.6451 | 26.7295 | Yes | T4 | 28.9033 | 28.9469 | 28.9461
AIS-4503A (Field Blank) | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.5849 | 29.9419 | 29.7247
AIS-4503B (Field Blank) | Field |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6838 | 29.5915 | 29.8908
Field ENEG | Field |  | C. intestinalis |  |  |  | Yes | T4
Lab ENEG - TUBE XXX | Lab |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.815 | 29.5376 | 29.464
NTC |  |  | C. intestinalis | NA | NA | NA | Yes | T4 | 29.6998 | 29.8264 | 29.7989

## Meghan McBride
Extraction Form - This is a test run using V2 of the field protocol utilizing syringes and a repeater pipette
Site | Sample ID | Filter Half (A or B) | Sample Type (e.g., Replicate, Field Blank or Extraction negative) | In-field or Lab | Extraction Date | Personnel | Weather Conditions (e.g., windy, sun, temperature, humidity, etc.) | Notes
Lab 521 | AIS-4472 | B | Replicate | In-field | 2024-11-19 | Meghan McBride | N/A
Lab 521 | AIS-4473 | B | Replicate | In-field | 2024-11-19 | Meghan McBride
Lab 521 | AIS-4474 | B | Replicate | In-field | 2024-11-19 | Meghan McBride |  | Put LB Tube 4474B in 4473B spot when removing from the centrifuge and used the syringe for 4473B to pu tin reagent 3. Realized this immediately afterwards, so got a new syringe to as 4473B moving forward. Potential conamination in only 4474B at that step.
Lab 521 | AIS-4475 | B | Field Blank | In-field | 2024-11-19 | Meghan McBride
Lab 521 | ENEG |  | Extraction Negative | In-field | 2024-11-19 | Meghan McBride
Liberty 16
Sample ID | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Notes
Std 5 | C. intestinalis | 22 | 22.1 | ------- | No
Std 1 | C. intestinalis | 36.2 | 37.1 | ------- | No
AIS-4472B | C. intestinalis | 27.5 | 27.4 | 27.6 | No
AIS-4473B | C. intestinalis | 26.6 | 26.3 | 26.6 | No
AIS-4475B (Field Blank) | C. intestinalis | NA | NA | ------- | No | This was re-run by Evan to confirm Lab results and only 1 of 3 technical replicates had amplification value of 42.99
Field ENEG | C. intestinalis | NA | NA | ------- | No
NTC | C. intestinalis | NA | NA | ------- | No
Note: Started on the Liberty 16 at 4:55pm and the cycle time was 2 hr 5 min
QuantStudio 7
Sample ID | Field or Lab extraction | DNA concentration (ng/uL) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | IPC Checked (Yes/No) | Target Assay Name | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3
Std 5 |  |  | C. intestinalis
Std 4 |  |  | C. intestinalis
Std 3 |  |  | C. intestinalis
Std 2 |  |  | C. intestinalis
Std 1 |  |  | C. intestinalis
Std 0 |  |  | C. intestinalis
AIS-4472A | Lab | 38.4 | C. intestinalis | 26.966 | 26.895 | 26.99 | Yes | T4 | 28.304 | 28.326 | 28.405
AIS-4472B | Field | 44.7 | C. intestinalis | 26.398 | 26.322 | 26.286 | Yes | T4 | 28.107 | 28.124 | 28.107
AIS-4473A | Lab | 41.2 | C. intestinalis | 24.992 | 24.845 | 24.945 | Yes | T4 | 27.966 | 27.84 | 28.099
AIS-4473B | Field | 37 | C. intestinalis | 25.891 | 25.747 | 25.66 | Yes | T4 | 28.153 | 28.078 | 28.025
AIS-4474A | Lab | 39.9 | C. intestinalis | 25.48 | 25.511 | 25.572 | Yes | T4 | 27.98 | 28.039 | 27.999
AIS-4474B | Field | 52 | C. intestinalis | 23.951 | 24.028 | 24.064 | Yes | T4 | 27.49 | 27.703 | 27.587
AIS-4475A (Field Blank) | Lab | 4.95 | C. intestinalis | NA | NA | NA | Yes | T4 | 28.175 | 28.187 | 28.171
AIS-4475B (Field Blank) | Field | 7.35 | C. intestinalis | 39.285 | NA | 39.902 | Yes | T4 | 28.583 | 28.595 | 28.614
Field ENEG | Field | 0 | C. intestinalis | NA | NA | NA | Yes | T4 | 28.415 | 28.412 | 28.61
*Lab ENEG - TUBE926 | Lab | 4.6 | C. intestinalis | NA | 39.148 | NA | Yes | T4 | 28.542 | 28.631 | 28.729
NTC |  |  | C. intestinalis | NA | NA | NA | Yes | T4 | 28.505 | 28.508 | 28.594
* Got mixed with the Field Blank, which apparently was contaminated anyways with some level of DNA based on the Field extraction.
EC re-ran the qPCR to investigate sample AIS-4475B (Field Blank), because in the previous assays on 19-Nov-24 this sample showed two of three replications amplify with the Quantstudio, but no amplification using the Liberty16. Wanted to see if that amplification was real and repeatable and if there is a real difference between the Quantstudio and Liberty16. Wanted to include many more technical replicates of AIS-4475B, but no more DNA was available
Results suggest that the amplification was real and this time was seen in the Liberty16. AIS-4475B has a very low level of C. intestinalis DNA present, right at the lower limit of detection. Previous work has already found that right near the LOD, the Liberty16 is slightly less sensitive than QuantStudio, so more replicates on Liberty16 are probably needed if trying to detect a couple copies of DNA (< 10 copies per assay for C. intestinalis)

## Summary
|  |  | Field - Liberty 16 |  |  | Lab Verification - QS7
| Sample ID | Field or Lab Extraction | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | Notes
No Lab Experience | AIS-4480A | Lab |  |  |  | 27.7037 | 27.6361 | 27.5637
| AIS-4480B | Field | 27.7 | 27.5 | 27.9 | 27.8431 | 27.8189 | 27.8901
| AIS-4481A | Lab |  |  |  | 27.3483 | 27.434 | 27.2702
| AIS-4481B | Field | 28.5 | 25.8* | 27 | 27.2281 | 27.1638 | 27.1821 | For Ct value replicate 2 - I thought I saw Lyla put 3 uL of DNA twice and based on the Ct value this conclude that, that was the case.
| AIS-4483A (Field Blank) | Lab |  |  |  | NA | NA | NA
| AIS-4483B (Field Blank) | Field | NA | NA | NA | NA | NA | NA
| Field ENEG | Field | NA | NA | NA
| Lab ENEG - TUBE 936 | Lab |  |  |  | NA | NA | NA
| AIS-4492A | Lab |  |  |  | 26.7983 | 26.8294 | 26.7615
| AIS-4492B | Field | 27.9 | 27.9 | 27.6 | 27.0529 | 26.9964 | 27.0247
| AIS-4493A | Lab |  |  |  | 27.1313 | 27.0628 | 27.0713
| AIS-4493B | Field | 28.1 | 28.5 | ----- | 29.085 | 29.0794 | 29.025
| AIS-4494A | Lab |  |  |  | 27.0801 | 27.0477 | 27.0305
| AIS-4494B | Field | 28.2 | 28.2 | 28.1 | 27.2103 | 27.2286 | 27.2753
| AIS-4495A (Field Blank) | Lab |  |  |  | NA | NA | NA
| AIS-4495B (Field Blank) | Field | ------ | ------ | ------ | 27.3566 | 27.4427 | 27.378 | Mistakenly grabbed the sample replicate and ran on the qPCR instead of the Field Blank in the Field
| Field ENEG | Field | NA | NA | NA
| Lab ENEG - TUBE 936 | Lab |  |  |  | NA | NA | NA
Non-Molecular Lab Experience | AIS-4484A | Lab |  |  |  | 27.3382 | 27.3586 | 27.3171
| AIS-4484B | Field | 26.9 | 26.6 | 26.3 | 27.0204 | 27.0545 | 26.9736
| AIS-4485A | Lab |  |  |  | 27.2732 | 27.3756 | 27.3567
| AIS-4485B | Field | 27.2 | 26.4 | 27.3 | 27.6203 | 27.6545 | 27.6053
| AIS-4487A (Field Blank) | Lab |  |  |  | NA | NA | NA
| AIS-4487B (Field Blank) | Field | NA | NA | NA | NA | NA | NA
| Field ENEG | Field | NA | NA | NA
| Lab ENEG - TUBE 936 | Lab |  |  |  | NA | NA | NA
| AIS-4476A | Lab |  |  |  | 27.4973 | 27.4579 | 27.3768
| AIS-4476B | Field | 28.9 | 29 | 29 | 27.9087 | 27.9806 | 27.8842
| AIS-4477A | Lab |  |  |  | 28.0419 | 28.0639 | 28.0094
| AIS-4477B | Field | 29 | 29 | 28.8 | 27.9876 | 28.0453 | 27.9783
| AIS-4479A (Field Blank) | Lab |  |  |  | NA | 38.4355 | 38.3614 | I dropped filter half A on the floor when I was trying to put it into the tube. This explains the contamination on this half of the filter.
| AIS-4479B (Field Blank) | Field | NA | NA | NA | NA | NA | NA
| Field ENEG | Field | NA | NA | NA
| Lab ENEG - TUBE 936 | Lab |  |  |  | NA | NA | NA
Previous Molecular Lab Experience | AIS-4488A | Lab |  |  |  | 27.3175 | 27.2272 | 27.2503
| AIS-4488B | Field | 27.7 | 27.5 | 27.6 | 27.6357 | 27.6811 | 27.71
| AIS-4489A | Lab |  |  |  | 27.0436 | 27.0966 | 27.0028
| AIS-4489B | Field | 26.7 | 27 | 27.2 | 27.098 | 27.1216 | 27.1636
| AIS-4491A (Field Blank) | Lab |  |  |  | NA | NA | NA
| AIS-4491B (Field Blank) | Field | NA | NA | NA | NA | NA | NA
| Field ENEG | Field | NA | NA | NA
| Lab ENEG - TUBE 936 | Lab |  |  |  | NA | NA | NA
Molecular Lab Experts | AIS-4500A | Lab |  |  |  | 26.7283 | 26.5668 | 26.6226
| AIS-4500B | Field | 27.4 | 27.7 | 27.5 | 26.5937 | 26.502 | 26.6013
| AIS-4501A | Lab |  |  |  | 27.0677 | 27.0001 | 26.9825
| AIS-4501B | Field | 27.9 | 27.7 | 27.8 | 26.687 | 26.6451 | 26.7295
| AIS-4503A (Field Blank) | Lab |  |  |  | NA | NA | NA
| AIS-4503B (Field Blank) | Field | NA | NA | NA | NA | NA | NA
| Field ENEG | Field | NA | NA | NA
| Lab ENEG - TUBE 936 | Lab |  |  |  | NA | NA | NA
| AIS-4472A | Lab |  |  |  | 26.966 | 26.895 | 26.99
| AIS-4472B | Field | 27.5 | 27.4 | 27.6 | 26.398 | 26.322 | 26.286
| AIS-4473A | Lab |  |  |  | 24.992 | 24.845 | 24.945
| AIS-4473B | Field | 26.6 | 26.3 | 26.6 | 25.891 | 25.747 | 25.66
| AIS-4475A (Field Blank) | Lab |  |  |  | NA | NA | NA
| AIS-4475B (Field Blank) | Field | NA | NA | 42.99 | 39.285 | NA | 39.902
| Field ENEG | Field | NA | NA | NA | NA | NA | NA
| *Lab ENEG - TUBE926 | Lab |  |  |  | NA | 39.148 | NA | Got mixed with the Field Blank, which apparently was contaminated with some level of DNA based on the Field extraction.

## Summary of Time
User Experience | Lab Setup | Extraction Step | qPCR Prep Step | Total Hands on Time
No Lab Experience | 30 min | 2.5 hr | 1 hr | 4.0 hr
No Lab Experience - Re-tested | 20 min | 2.0 hr | 35 min | 2.9 hr
Non-Molecular Lab Experience | 30 min | 2.0 hr | 30 min | 3.0 hr
Previous Molecular Lab Experience | 30 min | 2.5 hr | 30 min | 3.5 hr
Molecular Lab Experts | 10 min | 2.0 hr | 30 min | 2.7 hr

## Summary for presentation
|  | Field Protocol |  |  |  | Lab Verification
User Experience | Sample ID | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | CT Mean | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | CT Mean
No Lab Experience | AIS-4480 | 27.7 | 27.5 | 27.9 | 27.7 | 27.704 | 27.636 | 27.564 | 27.6347
| AIS-4481 | 28.5 | 25.8* | 27 | 27.1 | 27.348 | 27.434 | 27.27 | 27.3507
| AIS-4492 | 27.9 | 27.9 | 27.6 | 27.8 | 26.798 | 26.829 | 26.762 | 26.7963
| AIS-4494 | 28.2 | 28.2 | 28.1 | 28.1667 | 27.08 | 27.053 | 27.03 | 27.0543
Non-Molecular Lab Experience | AIS-4476 | 28.9 | 29 | 29 | 28.9667 | 27.497 | 27.458 | 27.377 | 27.444
| AIS-4477 | 29 | 29 | 28.8 | 28.9333 | 28.042 | 28.064 | 28.009 | 28.0383
| AIS-4484 | 26.9 | 26.6 | 26.3 | 26.6 | 27.338 | 27.359 | 27.317 | 27.338
| AIS-4485 | 27.2 | 26.4 | 27.3 | 26.9667 | 27.273 | 27.376 | 27.357 | 27.3353
Previous Molecular Lab Experience | AIS-4488 | 27.7 | 27.5 | 27.6 | 27.6 | 27.318 | 27.227 | 27.25 | 27.265
| AIS-4489 | 26.7 | 27 | 27.2 | 26.9667 | 27.044 | 27.097 | 27.003 | 27.048
Molecular Lab Experts | AIS-4472 | 27.5 | 27.4 | 27.6 | 27.5 | 26.966 | 26.895 | 26.99 | 26.9503
| AIS-4473 | 26.6 | 26.3 | 26.6 | 26.5 | 24.992 | 24.845 | 24.945 | 24.9273
| AIS-4500 | 27.4 | 27.7 | 27.5 | 27.5333 | 26.728 | 26.567 | 26.623 | 26.6393
| AIS-4501 | 27.9 | 27.7 | 27.8 | 27.8 | 27.068 | 27 | 26.982 | 26.6393
* DNA added twice
|  |  | Field Protocol |  |  |  | Lab Verification
User Experience | Sample ID | Type | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | CT Mean | Ct value Replicate 1 | Ct value Replicate 2 | Ct value Replicate 3 | CT Mean
No Lab Experience | AIS-4480 | Sample | 27.7 | 27.5 | 27.9 | 27.7 | 27.704 | 27.636 | 27.564 | 27.6347
| AIS-4481 | Sample | 28.5 | 25.8* | 27 | 27.1 | 27.348 | 27.434 | 27.27 | 27.3507
| AIS-4483 | Field Blank | NA | NA | NA | NA | NA | NA | NA | NA
| AIS-4492 | Sample | 27.9 | 27.9 | 27.6 | 27.8 | 26.798 | 26.829 | 26.762 | 26.7963
| AIS-4493 | Sample | 28.1 | 28.5 | ----- | 28.3 | 27.1 | 27.1 | 27.1 | 27.1
| AIS-4494 | Sample | 28.2 | 28.2 | 28.1 | 28.1667 | 27.08 | 27.053 | 27.03 | 27.0543
| AIS-4495** | Field Blank | 27.4 | 27.4 | 27.4 | 27.4 | NA | NA | NA | NA
Non-Molecular Lab Experience | AIS-4476 | Sample | 28.9 | 29 | 29 | 28.9667 | 27.497 | 27.458 | 27.377 | 27.444
| AIS-4477 | Sample | 29 | 29 | 28.8 | 28.9333 | 28.042 | 28.064 | 28.009 | 28.0383
| AIS-4479*** | Field Blank | NA | NA | NA | NA | NA | 38.4 | 38.4 | 38.4
| AIS-4484 | Sample | 26.9 | 26.6 | 26.3 | 26.6 | 27.338 | 27.359 | 27.317 | 27.338
| AIS-4485 | Sample | 27.2 | 26.4 | 27.3 | 26.9667 | 27.273 | 27.376 | 27.357 | 27.3353
| AIS-4487 | Field Blank | NA | NA | NA | NA | NA | NA | NA | NA | AIS-4493A | Lab |  |  |  | 27.1313 | 27.0628 | 27.0713
Previous Molecular Lab Experience | AIS-4488 | Sample | 27.7 | 27.5 | 27.6 | 27.6 | 27.318 | 27.227 | 27.25 | 27.265 | AIS-4493B | Field | 28.1 | 28.5 | ----- | 29.085 | 29.0794 | 29.025
| AIS-4489 | Sample | 26.7 | 27 | 27.2 | 26.9667 | 27.044 | 27.097 | 27.003 | 27.048
| AIS-4491 | Field Blank | NA | NA | NA | NA | NA | NA | NA | NA
Molecular Lab Experts | AIS-4472 | Sample | 27.5 | 27.4 | 27.6 | 27.5 | 26.966 | 26.895 | 26.99 | 26.9503
| AIS-4473 | Sample | 26.6 | 26.3 | 26.6 | 26.5 | 24.992 | 24.845 | 24.945 | 24.9273
| AIS-4475 | Field Blank | NA | NA | 42.99 | 42.99 | 39.3 | NA | 39.9 | 39.6
| AIS-4500 | Sample | 27.4 | 27.7 | 27.5 | 27.5333 | 26.728 | 26.567 | 26.623 | 26.6393
| AIS-4501 | Sample | 27.9 | 27.7 | 27.8 | 27.8 | 27.068 | 27 | 26.982 | 26.6393
| AIS-4503 | Field Blank | NA | NA | NA | NA | NA | NA | NA | NA
* DNA added twice